FARM MANAGEMENT PLAN

Registered Establishment — Export Control (Plants and Plant Products) Rules 2021

| Establishment Name | MacIntyre Grain Services |
| --- | --- |
| RE Number | RE-NSW-2021-0177 |
| State / Territory | NSW |
| Property Address | 55 Bruxner Highway, Moree NSW 2400 |
| Registered Commodity | Cotton |
| Responsible Officer | Steve Larson |
| Property Area | 4200.0 ha |
| Year Established | 2012 |
| Document Version | 2.3 |
| Plan Date | 12 September 2024 |
| Next Review | 12 September 2026 |

# 1.  OVERVIEW

MacIntyre Grain Services is a registered export establishment located at 55 Bruxner Highway, Moree NSW 2400, NSW. The establishment holds RE Number RE-NSW-2021-0177 and is registered to handle and export Cotton under the Export Control (Plants and Plant Products) Rules 2021. This Farm Management Plan documents the physical infrastructure, equipment, facilities, design standards, waste management arrangements and establishment condition relevant to compliance with Chapter 4 of the Rules and the DAFF Performance Standards IMLS-12-3742.

# 2.  BUILDINGS AND INFRASTRUCTURE

Rules s4-2 — buildings, equipment, facilities and services required for export operations

| Code | Building / Structure | Dimensions | Construction | Location |
| --- | --- | --- | --- | --- |
| RB | Receival & Processing Building | 60×25 m | Steel/concrete | Centre of site |
| S1–S8 | Storage Bins | Dia. 14 m | Galv. steel | South cluster |
| PL | Packing & Dispatch Shed | 35×20 m | Tilt-up concrete | SE corner |
| AM | Amenities Block | 9×5 m | Brick | Adjacent RB |
| CH | Chemical Store | 6×4 m | Steel, bunded | NW corner |
| IB | DAFF Inspection Room | 6×5 m | Enclosed room | RB north end |

# 3.  EQUIPMENT AND MACHINERY

Rules s4-2(4) — equipment adequate for the type of export operations conducted

| Item | Quantity / Spec | Purpose |
| --- | --- | --- |
| Receival pit and elevator | 1 unit | Primary receival |
| Cleaning and separation unit | 1 unit | Pre-storage cleaning |
| Drying system | continuous-flow | Moisture reduction |
| Packing/bagging line | 1 unit | Export preparation |
| Weighing system | In-line | Lot verification |
| In-line quality sampler | 1 unit | Representative sampling |

# 4.  FACILITIES AND SERVICES

Rules s4-2 — Element 2.1 checking points C1, C2, C3

## 4.1  Buildings, Equipment and Facilities (C1)

The establishment has all buildings, equipment, facilities and services required for the registered export operations. Facilities are maintained in an operational condition appropriate for handling and exporting Cotton.

## 4.2  Lighting (C2)

LED panel lighting installed 2015: 550 lux (processing), 440 lux (storage), 418 lux (load-out). IP65-rated food-grade fittings. Annual lux-level verification by licensed electrician.

## 4.3  Handwashing and Toilet Facilities (C3)

Amenities block within 20 m of processing floor: 2 toilets, 2 hand basins hot/cold water, liquid soap, paper towels. Separate no-touch basin and hand sanitiser dispenser installed at cool store/packing area access point, as required by site hygiene protocol.

# 5.  DESIGN AND CONSTRUCTION STANDARDS

Rules s4-2(5), s4-2(6) — Element 2.2 checking points C4, C5, C6

## 5.1  Cleanability (C4)

All product-contact and grain-contact surfaces are smooth, non-porous and cleanable: 3-coat epoxy floor system; FRP (fibreglass-reinforced panel) wall linings to 2.7 m; stainless-steel equipment internals. Conveyor and auger housings have hinged access panels. Full washdown of product-contact surfaces required between commodity lots per cleaning SOP.

## 5.2  Contamination and Pest Harbourage Minimisation (C5)

The processing shed was purpose-built with full pest exclusion features. Several maintenance items have accumulated: roller door rubber threshold seals on doors 2 and 4 are worn with gaps of 8–22 mm; the cold store access door gasket has delaminated on the hinge side creating a 12 mm gap when closed; one south wall ventilation panel mesh has a 80×40 mm hole. These items are on the maintenance schedule.

## 5.3  Waste Disposal Design (C6)

Contained waste management infrastructure: liquid drains to bunded sump (4000 L) outside the processing building; solid waste in sealed wheeled bins with lids; external waste bay roofed and bunded on three sides with 300 mm concrete kerb and sealed slab. Organic waste composted in covered bay 50 m from processing. No open waste storage areas.

# 6.  WASTE MANAGEMENT SYSTEM

Rules s4-7A(2)(a) — Element 3.1 checking point C7

## 6.1  Waste Management Procedures (C7)

Establishment Waste Management Plan (EWMP v3.0, reviewed October 2025): details procedures for all waste streams — product spillage, packaging, liquid washdown, chemical containers and dust. Scheduled tasks on daily operations checklist, signed off by shift supervisor. Records retained 3 years minimum.

Waste streams and handling arrangements:

| Waste Type | Handling Method | Removal Frequency |
| --- | --- | --- |
| Product waste and screenings | Collection hoppers under cleaning unit | Daily removal |
| Grain dust | Bag filter or cyclone | Fortnightly |
| Washdown water | Drains → contained sump | Weekly |
| Packaging waste | Covered skip | Fortnightly contractor |

# 7.  ESTABLISHMENT CONDITION

Rules s4-6 — Element 3.4 (C8) and Element 3.5 (C9)

## 7.1  Hygiene and Cleanliness (C8)

The establishment is maintained in a clean and hygienic condition appropriate for export of Cotton. All product-contact surfaces are cleaned between commodity lots using the documented cleaning procedure. Non-product-contact surfaces cleaned on a 4-weekly schedule. No hygiene deficiencies at most recent inspection.

## 7.2  Pest Condition (C9)

Pest condition assessment: Rodents: nil evidence in 6 months of monitoring. Grain insects: probe samples from all storage negative for live insects. Birds: no evidence of access to grain-contact areas. Last licensed fumigation: December 2024.

# 8.  SERVICES

| Service | Details |
| --- | --- |
| Electrical supply | Three-phase 415 V — Energex/Ergon Energy connection at site entry |
| Water supply | mains + bore licence — 50 mm service |
| Telecommunications | NBN fixed line + mobile backup at administration/control room |
| Sewerage | Licensed trade waste — EPA approval — serves amenities block |
| Stormwater | Graded hardstand to retention basin with licensed discharge point |
| Power backup | 200 kVA diesel generator — auto-start on grid failure |

# 9.  AUTHORISATION

| Prepared By | Steve Larson |
| --- | --- |
| Position | Establishment Manager |
| Date | 12 September 2024 |
| Signature |  |
| Approved By | DAFF Authorised Officer |
| Approval Date |  |