FARM MANAGEMENT PLAN

Registered Establishment — Export Control (Plants and Plant Products) Rules 2021

| Establishment Name | Adelaide Plains Grain |
| --- | --- |
| RE Number | RE-SA-2020-0120 |
| State / Territory | SA |
| Property Address | 99 Port Wakefield Road, Two Wells SA 5501 |
| Registered Commodity | Table Grapes |
| Responsible Officer | Paul Vitale |
| Property Area | 220.0 ha |
| Year Established | 2018 |
| Document Version | 2.2 |
| Plan Date | 9 April 2024 |
| Next Review | 9 April 2026 |

# 1.  OVERVIEW

Adelaide Plains Grain is a registered export establishment located at 99 Port Wakefield Road, Two Wells SA 5501, SA. The establishment holds RE Number RE-SA-2020-0120 and is registered to handle and export Table Grapes under the Export Control (Plants and Plant Products) Rules 2021. This Farm Management Plan documents the physical infrastructure, equipment, facilities, design standards, waste management arrangements and establishment condition relevant to compliance with Chapter 4 of the Rules and the DAFF Performance Standards IMLS-12-3742.

# 2.  BUILDINGS AND INFRASTRUCTURE

Rules s4-2 — buildings, equipment, facilities and services required for export operations

| Code | Building / Structure | Dimensions | Construction | Location |
| --- | --- | --- | --- | --- |
| RB | Receival & Processing Building | 40×25 m | Steel/concrete | Centre of site |
| S1–S6 | Storage Bins | Dia. 12 m | Galv. steel | South cluster |
| PL | Packing & Dispatch Shed | 35×20 m | Tilt-up concrete | SE corner |
| AM | Amenities Block | 9×5 m | Brick | Adjacent RB |
| CH | Chemical Store | 6×4 m | Steel, bunded | NW corner |
| IB | DAFF Inspection Room | 6×5 m | Enclosed room | RB north end |

# 3.  EQUIPMENT AND MACHINERY

Rules s4-2(4) — equipment adequate for the type of export operations conducted

| Item | Quantity / Spec | Purpose |
| --- | --- | --- |
| Receival pit and elevator | 1 unit | Primary receival |
| Cleaning and separation unit | 1 unit | Pre-storage cleaning |
| Drying system | batch | Moisture reduction |
| Packing/bagging line | 1 unit | Export preparation |
| Weighing system | In-line | Lot verification |
| In-line quality sampler | 1 unit | Representative sampling |

# 4.  FACILITIES AND SERVICES

Rules s4-2 — Element 2.1 checking points C1, C2, C3

## 4.1  Buildings, Equipment and Facilities (C1)

The establishment has all buildings, equipment, facilities and services required for the registered export operations. Facilities are maintained in an operational condition appropriate for handling and exporting Table Grapes.

## 4.2  Lighting (C2)

LED high-bay luminaires throughout: 500 lux processing, 400 lux storage, 380 lux load-out. All levels comply with AS/NZS 1680.2.1. Photocell-activated perimeter lighting for after-hours vehicle movements.

## 4.3  Handwashing and Toilet Facilities (C3)

Amenities block adjacent to processing entry: 1 toilet, 1 hand basin (hot/cold, liquid soap, paper towels). Additional hand basin at packing hall entry — no-touch sensor tap, soap, paper towel roll. 'Wash hands before handling product' signage at all wash points.

# 5.  DESIGN AND CONSTRUCTION STANDARDS

Rules s4-2(5), s4-2(6) — Element 2.2 checking points C4, C5, C6

## 5.1  Cleanability (C4)

Internal surfaces: smooth-finish epoxy-sealed concrete floors with 80 mm coved skirting; smooth food-grade colourbond wall linings to 2.4 m; recessed drains with stainless-steel grates. All equipment on adjustable SS feet ≥150 mm off floor. Equipment housings open fully for pressure-wash access. Cleaning schedule specifies full washdown between commodity lots.

## 5.2  Contamination and Pest Harbourage Minimisation (C5)

Sealed building envelope: all wall-floor junctions coved; roof-wall junctions sealed with foam backer rod and polyurethane sealant; all service penetrations sealed with expandable foam; ventilation openings fitted with 6 mm stainless wire mesh; personnel doors with 10 mm brush seals on all four sides; roller doors with rubber threshold sweeps and side brush seals. Annual pest technician inspection confirms envelope integrity.

## 5.3  Waste Disposal Design (C6)

Liquid waste via flush-recessed floor drains to bunded underground sump (1500 L) outside the building; pump-out by licensed contractor weekly or when 80% full. Solid waste in sealed labelled bins at designated collection points; removed to covered external waste bay daily. Dust via cyclone separator — collection bags changed fortnightly. All waste areas bunded and roofed.

# 6.  SASTE MANAGEMENT SYSTEM

Rules s4-7A(2)(a) — Element 3.1 checking point C7

## 6.1  Waste Management Procedures (C7)

Documented Waste Management Procedure (WMP-1801 Rev 1): specifies daily spillage sweep, weekly sump pump-out, post-commodity full shed washdown. Responsibilities assigned to named positions. Records in waste management log (Form WL-001) retained ≥2 years. Procedure reviewed annually by establishment manager.

Waste streams and handling arrangements:

| Waste Type | Handling Method | Removal Frequency |
| --- | --- | --- |
| Product waste and screenings | Collection hoppers under cleaning unit | Daily removal |
| Grain dust | Bag filter or cyclone | Fortnightly |
| Washdown water | Drains → contained sump | Weekly |
| Packaging waste | Covered skip | Fortnightly contractor |

# 7.  ESTABLISHMENT CONDITION

Rules s4-6 — Element 3.4 (C8) and Element 3.5 (C9)

## 7.1  Hygiene and Cleanliness (C8)

All areas are clean and tidy at inspection. Floors swept and dry — no accumulated table grapes residue, spillage or debris observed. Wall surfaces free from dust and product residue. Equipment cleaned after each production run per cleaning schedule. Amenities block clean; consumables stocked. Drain covers in place and clear.

## 7.2  Pest Condition (C9)

No pest activity detected at most recent internal inspection. All rodent bait stations serviceable and baited — no evidence of feeding. Insect monitoring traps (pheromone and sticky) show no target species above threshold levels. No evidence of bird ingress. Last fumigation: 2024 (routine, bin rotation).

# 8.  SERVICES

| Service | Details |
| --- | --- |
| Electrical supply | Three-phase 415 V — Western Power connection at site entry |
| Water supply | self-supplied bore — 32 mm service |
| Telecommunications | NBN fixed line + mobile backup at administration/control room |
| Sewerage | Septic system — licensed — serves amenities block |
| Stormwater | Sheet flow to soakage trench with licensed discharge point |
| Power backup | 60 kVA generator — auto-start on grid failure |

# 9.  AUTHORISATION

| Prepared By | Paul Vitale |
| --- | --- |
| Position | Establishment Manager |
| Date | 9 April 2024 |
| Signature |  |
| Approved By | DAFF Authorised Officer |
| Approval Date |  |