FARM MANAGEMENT PLAN

Registered Establishment — Export Control (Plants and Plant Products) Rules 2021

| Establishment Name | Port Pirie Grain Terminals |
| --- | --- |
| RE Number | RE-SA-2021-0222 |
| State / Territory | SA |
| Property Address | 1 Ellen Street, Port Pirie SA 5540 |
| Registered Commodity | Faba Beans |
| Responsible Officer | Andrew Voigt |
| Property Area | 490.0 ha |
| Year Established | 2017 |
| Document Version | 2.4 |
| Plan Date | 10 April 2024 |
| Next Review | 10 April 2026 |

# 1.  OVERVIEW

Port Pirie Grain Terminals is a registered export establishment located at 1 Ellen Street, Port Pirie SA 5540, SA. The establishment holds RE Number RE-SA-2021-0222 and is registered to handle and export Faba Beans under the Export Control (Plants and Plant Products) Rules 2021. This Farm Management Plan documents the physical infrastructure, equipment, facilities, design standards, waste management arrangements and establishment condition relevant to compliance with Chapter 4 of the Rules and the DAFF Performance Standards IMLS-12-3742.

# 2.  BUILDINGS AND INFRASTRUCTURE

Rules s4-2 — buildings, equipment, facilities and services required for export operations

| Code | Building / Structure | Dimensions | Construction | Location |
| --- | --- | --- | --- | --- |
| WB | Weighbridge | 40 t pit type | Concrete pit, steel deck | North entry |
| GS | Grading Shed | 28×20 m | Steel portal, concrete floor | Centre of site |
| S1–S4 | Storage Bins ×4 (1,000 t ea) | Dia. 10 m | Steel on concrete | South cluster |
| AM | Amenities Block | 7×5 m | Brick | Adjacent GS entry |
| CH | Chemical Store | 5×3 m | Steel, bunded | Remote — NW corner |
| IB | DAFF Inspection Room | 5×4 m | Enclosed room in GS | GS north end |

# 3.  EQUIPMENT AND MACHINERY

Rules s4-2(4) — equipment adequate for the type of export operations conducted

| Item | Quantity / Spec | Purpose |
| --- | --- | --- |
| Pulse grader (aspiration screen) | 1 unit | Cleaning and grading |
| Destoner | 1 unit | Foreign material removal |
| Colour sorter | 1 unit | Quality grading |
| Bagging machine (25 kg bags) | 1 unit | Bulk export bagging |
| Weighbridge system | 40 t rated | Truck weighing |
| In-line sampler | 1 unit | Representative lot sampling |

# 4.  FACILITIES AND SERVICES

Rules s4-2 — Element 2.1 checking points C1, C2, C3

## 4.1  Buildings, Equipment and Facilities (C1)

The establishment has all buildings, equipment, facilities and services required for the registered export operations. Facilities are maintained in an operational condition appropriate for handling and exporting Faba Beans.

## 4.2  Lighting (C2)

T5 LED fluorescent panels on 600 mm spacing — 500 lux at floor level throughout processing area. Task lighting above grading line at 550 lux. Loading dock: 300 W LED floods at 380 lux. Emergency lighting on dedicated UPS circuit.

## 4.3  Handwashing and Toilet Facilities (C3)

Amenities block: 1 toilet and 1 hand basin serving the entire facility. During peak season the establishment employs 16 people on the processing floor. The single hand basin creates queuing during shift changes. No additional wash provision at the packing or grading line. Hot water supply is a 25 L instantaneous unit which exhausts during concurrent use.

# 5.  DESIGN AND CONSTRUCTION STANDARDS

Rules s4-2(5), s4-2(6) — Element 2.2 checking points C4, C5, C6

## 5.1  Cleanability (C4)

Floors: smooth-trowelled reinforced concrete with penetrating sealant (applied 2017, resealed 2022); coved floor-wall junctions throughout. Wall cladding: 1.6 mm Zincalume on galvanised rails to 3.0 m — smooth, washable. All service penetrations sealed with flexible polyurethane. Drain covers: lift-out stainless-steel.

## 5.2  Contamination and Pest Harbourage Minimisation (C5)

Pest exclusion features: (1) all gaps >6 mm in the building envelope sealed; (2) ventilation openings screened with 6 mm galvanised mesh; (3) all doors have rubber or brush seals at threshold and jambs; (4) drainage openings covered with SS mesh inserts; (5) no internal ledges >50 mm depth without ≥45° slope; (6) equipment on feet to eliminate floor-level harbourage. Inspected by licensed technician every 6 months.

## 5.3  Waste Disposal Design (C6)

Waste infrastructure: (1) floor drains to grease interceptor → licensed trade waste; (2) solid product waste in sealed 240 L bins at processing line discharge — removed to covered bunded external skip, collected by contractor twice weekly; (3) packaging waste in baler at external waste bay; (4) dust and fines via bag filter — bags sealed and removed weekly. All collection points have contained, cleanable surfaces.

# 6.  WASTE MANAGEMENT SYSTEM

Rules s4-7A(2)(a) — Element 3.1 checking point C7

## 6.1  Waste Management Procedures (C7)

Waste Control System (Doc WCS-001): defines (a) waste stream classification, (b) daily/weekly/post-production cleaning tasks, (c) responsible personnel, (d) waste contractor schedule, (e) emergency spill response. Compliance records in digital operations log. Internal audit quarterly.

Waste streams and handling arrangements:

| Waste Type | Handling Method | Removal Frequency |
| --- | --- | --- |
| Pulse screenings and tailings | Collection bins under aspirator — sealed | Daily removal |
| Dust and chaff | Bag filter on aspiration system | Weekly bag disposal |
| Washdown water | Floor drains → sediment sump | Weekly pump-out |
| Packaging waste (bags, strapping) | Skip in external waste bay | Fortnightly collection |

# 7.  ESTABLISHMENT CONDITION

Rules s4-6 — Element 3.4 (C8) and Element 3.5 (C9)

## 7.1  Hygiene and Cleanliness (C8)

Establishment condition — most recent internal inspection: processing hall floor clean, drains clear; grading equipment wiped down post-use, no residue on contact surfaces; wall linings free from dust and condensation staining; chemical store tidy with labelled containers; waste bins emptied and clean. Condition consistent with good hygiene practices.

## 7.2  Pest Condition (C9)

Establishment pest-free: no rodent activity (no droppings, gnaw marks or runs observed); insect pheromone traps — current catches below threshold (3 moths/week vs 10 moths/week threshold); grain probe sampling negative for live insects; bird deterrents in place and effective; all bait stations serviceable.

# 8.  SERVICES

| Service | Details |
| --- | --- |
| Electrical supply | Three-phase 415 V — SA Power Networks connection at site entry |
| Water supply | mains water — 32 mm service |
| Telecommunications | NBN fixed line + mobile backup at administration/control room |
| Sewerage | Septic system — licensed — serves amenities block |
| Stormwater | Sheet flow to soakage trench with licensed discharge point |
| Power backup | 60 kVA generator — auto-start on grid failure |

# 9.  AUTHORISATION

| Prepared By | Andrew Voigt |
| --- | --- |
| Position | Establishment Manager |
| Date | 10 April 2024 |
| Signature |  |
| Approved By | DAFF Authorised Officer |
| Approval Date |  |